## Div.1.A
Project: | Commercial building
Location: | Al-DAMMAM , KSA
Owner:
Subject: | Division 1A - EARTHWORKS
DIV. # | Description | Unit | Qty. | Unit Price | Total | 1.25
1 | EARTHWORKS
Preambles
Rates and prices in this BOQ shall be deemed to include all costs necessary for the execution of the Works which includes but not limited to the following
1. Cost of temporary and permanent works 2. All direct costs including labour, plant, materials, sub contractors, and the like 3. All indirect costs and preliminaries including Contractor's accomodations، offices, indirect labour, project sign board and equipment, superintendents and supervision staff, cost of bonds and insurances,waste containers. 4. Contractor's overheads and profit margins. 5. Coordination with other contractors and handing over the site to them. 6. Site security fencing and the like 7. All engineering works including design of shop drawings,material and other submittals in compliance with the specifications. 8. Compliance with all other requirements as per the Contract Documents.
1.1 | Excavation
Bulk Excavation in all type of soil (except rock) according to the substructure system limit indicated on the approved design drawings and in accordance to specifications and provided Geo-technical report, according to "Soil Report Ref. GT 1839-3339-24" Works also shall include the disposal of any surplus excavated materials off site subjected to the engineer instructions/contractor is responsible for submitting a compaction test report with minimum compaction of 95%.
1.1.1 | Excavation (site leveling & waste removal ) | M3 | 1514 | 42 | 63588 | 33.5667 | 7 | 4.7952
1.2 | Backfilling -Around the tank and above footing up to bottom of basecoarse layer below sidewalk -Using natural clean sand (A-1 accoring to AASHTO) according to specifications -Compaction on layers, 30 cm for each. Until reach to 95% relative compation from maximum dry density for each layer. as per specifications by heavy roller - 15 ton min. -Item includes compaction test as per specefications.
| Backfill and soil replacement according to "Soil Report Ref. 3891". density all as per soil report and specifications. | [5 empty] | material | manpower | Lab
1.2.1 | Backfilling under footing (Soil Replacment) Backfilling for site (A-1 accoring to AASHTO) according to specifications according to site levels combantion test 95% every 30 cm with all neccecry works and as per soil test | M3 | 915 | 97 | 88755 | 77.5 | 52.5 | 20 | 5
1.2.2 | Backfilling Inbetween Footing & Grade Beam (sand) & SITE | M3 | 5865 | 47 | 275655 | 36.875 | 21.875 | 10 | 5
1.2.3 | Compacted subbase layer, 20 cm thick, under slab-on-grade for all shops, sales areas & service areas (A1B) – for site. | M3 | 475 | 90 | 42750 | 71.25 | 46.25 | 20 | 5
1.2.4 | Supply and application of approved anti-termite chemical treatment by spraying the soil beneath the Slab on Grade (SOG), including all necessary materials, equipment, labor, and related works, in accordance with the manufacturer’s recommendations. | LS | 1 | 7095 | 7095 | 5676
TOTAL COST FOR DIVISION 1A: EARHTWORKS (To Summary) |  |  |  |  | 477843

## Div.2.A
Project: | Commercial building
Location: | Al-DAMMAM , KSA
Owner:
Subject: | Division 2A - CIVILWORKS
DIV. # | Description | Unit | Qty. | Unit Price | Total | 1.25
2 | CIVIL WORKS
Concrete
The contractor is referred to the specifications and drawings for all details related to the works and he is to include but not limited to for complying with all the requirements contained therein, whether or not they are specifically mentioned within the items. All Tender documents (Drawings, Bill of quantities, Specifications) are integrated documents and complete each other. Workshop drawings and frames for approval before supply and installation.contractor must submit concrete test report.
Concrete
[7 empty] | concrete | RFT | manpower | operaion
2.1 | Plain Concrete Under Footing (2500 KG/CM2), Type (V) | M3 | 60 | 379 | 22740 | 302.5 | 247.5 | 0 | 50 | 5
2.2 | Footing Reinforced Concrete (4500 KG/CM2), Type (V) | M3 | 366 | 890 | 325740 | 711.302 | 264 | 187.302 | 250 | 10 | 253.19
2.3 | Pedestal (Height 1.00 m) (4500 KG/CM2), Type (V) | M3 | 20 | 2165 | 43300 | 1731.35 | 264 | 1057.35 | 350 | 60
2.4 | Plain Concrete Under Grade Beam (3000 KG/CM2), Type (V) | M3 | 24 | 379 | 9096 | 302.5 | 247.5 | 0 | 50 | 5
2.5 | Grade Beam (4500 KG/CM2), Type (V) | M3 | 102 | 1315 | 134130 | 1051.6835 | 264 | 417.6835 | 350 | 20
2.6 | Slab On Grade (3000 KG/CM2), Type (I) | M3 | 400 | 764 | 305600 | 610.6667 | 264 | 106.6667 | 133.3333 | 106.6667
2.7 | Stiffener Column (Height 3.00 m) (4500 KG/CM2), Type (I) | M3 | 23 | 1448 | 33304 | 1158.297 | 264 | 474.297 | 400 | 20
2.8 | Bond Beam & Slab (3000 KG/CM2), Type (I) | M3 | 99 | 1315 | 130185 | 1051.6835 | 264 | 417.6835 | 350 | 20
2.9 | WATER TANKS Footing Reinforced Concrete (4500 KG/CM2), Type (V) | M3 | 33 | 1065 | 35145 | 851.932 | 264 | 277.932 | 300 | 10
2.10 | WATER TANKS Walls Reinforced Concrete (4500 KG/CM2), Type (V) | M3 | 16 | 1128 | 18048 | 901.932 | 264 | 277.932 | 350 | 10
2.11 | WATER TANKS Roof Reinforced Concrete (4500 KG/CM2), Type (V) | M3 | 27 | 1128 | 30456 | 901.932 | 264 | 277.932 | 350 | 10
2.12 | Protection Screed, 50mm thick, , Type (I) as per Drawings and Specification | M2 | 190 | 32 | 6080 | 25
2.13 | Plain concrete for site (2500 KG/CM2), Type (V) | M3 | 450 | 379 | 170550 | 302.5 | 247.5 | 0 | 50 | 5
TOTAL COST FOR DIVISION 2A: CIVILWORKS (To Summary) |  |  |  |  | 1264374
Note on A33: DWG REVIEW: item no. was numeric 2.1 (duplicate of 2.1).

## Div.3.A
Project: | Commercial building
Location: | Al-DAMMAM , KSA
Owner:
Subject: | Division 3A -MASONRYWORKS
DIV. # | Description | Unit | Qty. | Unit Price | Total | 1.25
3 | MASONRY
Concrete blocks bedded and jointed in cement sand mortar (1:3), including all necessary lintel beams, stiffener columns and reinforcement steel bars, solid block at jambs and all necessary ties, complete as shown on drawings.
3.1 | 200 mm thick walls ConcreteBlock under boundary grade beams | M2 | 463 | 86 | 39818 | 68.75 | 27.5 | 31.25 | 10
3.2 | 200 mm thick walls ConcreteBlock for pumprooms-site rooms walls | M2 | 200 | 86 | 17200 | 68.75 | 27.5 | 31.25 | 10
total pcs=2500
3.3 | 300 mm thick walls insulated ConcreteBlock for exterior walls | M2 | 1516 | 187 | 283492 | 148.875 | 97.625 | 31.25 | 20
building a =1301m2- 18950 pcs
TOTAL COST FOR DIVISION 3A: MASONRYWORKS (To Summary) |  |  |  |  | 340510

## Div.4.A
Project: | Commercial building
Location: | Al-DAMMAM , KSA
Owner:
Subject: | Division 4A - ARCHWORKS
DIV. # | Description | Unit | Qty. | Unit Price | Total | 1.25
4 | ARCHITECTURAL WORKS
CONTRACTOR SHALL PROVIDE MATERIAL SAMPLES FOR ALL ITEM WITH SPECS FOR APPROVAL FROM OWNER & CONSULTANT
4.1 | FLOORING WORKS
4.1.1 | SUPPLY AND APPLY 2 MM THICK SELF-LEVELING EPOXY FLOORING SYSTEM (SIKA, FOSROC, OR APPROVED EQUIVALENT) FOR PUMP ROOMS, INCLUDING SURFACE PREPARATION BY MECHANICAL GRINDING, APPLICATION OF EPOXY PRIMER, SELF-LEVELING EPOXY COAT, AND FINAL SEALING COAT. COMPLETE IN ALL RESPECTS AS PER MANUFACTURER’S SPECIFICATIONS AND SITE REQUIREMENTS. | Sq.M | 16 | 188 | 3008 | 150
4.1.2 | SUPPLY & INSTALL GRAVEL BACKFILLING FOR SCECO ROOMS | Sq.M | 12 | 32 | 384 | 25
4.1.3 | SUPPLY AND INSTALL SAUDI GRANITE FLOORING 600 × 300 × 20 MM FOR SHOPS OUTDOOR (SITE), INCLUDING 5 CM THICK CEMENT-SAND MIX BED, FIXING USING ADHESIVE, JOINT GROUTING BETWEEN GRANITE TILES IN MATCHING COLOR, AND COMPLETE CLEANING AND POLISHING AFTER INSTALLATION. WORKS TO BE COMPLETE IN ALL RESPECTS. | Sq.M | 324 | 165 | 53460 | 131.5 | 71.5 | 40 | 20
4.1.4 | SUPPLY AND INSTALL SAUDI GRANITE FLOORING 600 × 600 × 20 MM FOR SITE WALKWAY, INCLUDING 5 CM THICK CEMENT-SAND MIX BED, FIXING USING ADHESIVE, JOINT GROUTING BETWEEN GRANITE TILES IN MATCHING COLOR, AND COMPLETE CLEANING AND POLISHING AFTER INSTALLATION. WORKS TO BE COMPLETE IN ALL RESPECTS. | Sq.M | 1001 | 165 | 165165 | 131.5 | 71.5 | 40 | 20
4.1.5 | SUPPLY & INSTALL CONRETE CURB STONE (300*150*500) FOR PAVEMENT SIDE WALKS | L.M | 250 | 82 | 20500 | 65
4.1.6 | SUPPLY & INTALL INTERLOCK FLOORING 20*10*6 CM FOR CAR PARKING & PAVING AREAS INCLUDING COMPACTED SUBBASE LAYER, 20 CM THICK, UNDER ALL INTERLOCK AREAS (A1B) - FOR SITE. THE WORKS INCLUDE ALL NECESSARY WORKS TO COMPLETE. | Sq.M | 667 | 106 | 70702 | 84.7 | 29.7 | 25 | 15 | 15
4.1.7 | SUPPLY & INTALL INTERLOCK FLOORING 20*10*8 CM FOR CAR PARKING & PAVING AREAS INCLUDING COMPACTED SUBBASE LAYER, 20 CM THICK, UNDER ALL INTERLOCK AREAS (A1B) - FOR SITE. THE WORKS INCLUDE ALL NECESSARY WORKS TO COMPLETE. | Sq.M | 45 | 117 | 5265 | 93.5 | 38.5 | 25 | 15 | 15
4.1.8 | SUPPLY AND INSTALLATION OF PRECAST CONCRETE PARKING WHEEL STOPS, SIZE 10 × 10 × 180 CM, INCLUDING ALL NECESSARY FIXINGS, ANCHORS, AND ACCESSORIES. WHEEL STOPS SHALL BE FINISHED WITH YELLOW ROAD-MARKING PAINT, SUCH AS JAZEERA ROAD PAINT OR APPROVED EQUIVALENT, SUITABLE FOR EXTERNAL PARKING APPLICATIONS, COMPLETE IN ACCORDANCE WITH THE PROJECT REQUIREMENTS. | NO. | 42 | 225 | 9450 | 180
4.1.9 | SUPPLY & INSTALL PORCLIEN FLOORING 600*600*11 FOR SERVICE ROOMS INDIAN ORIGIN | Sq.M | 37 | 167 | 6179 | 133 | 88 | 35 | 10
4.1.10 | SUPPLY & INSTALL PORCLIEN SKIRTING 600*100*11 FOR SERVICE ROOMS INDIAN ORIGIN | L.M | 44 | 167 | 7348 | 133 | 88 | 35 | 10
4.2 | FACADES WORK
4.2.1 | EXTERNAL PLASTERING WORKS, INCLUDING SURFACE PREPARATION, CEMENT-SAND PLASTER APPLICATION, LEVELING WITH BOUGHS AND STRINGS, INSTALLATION OF GALVANISED ANGLE BEADS AT ALL CORNERS, REINFORCEMENT MESH AT COLUMNS, BEAMS, AND ABOVE ELECTRICAL, PLUMBING & HVAC PIPES, AND PROVIDING SMOOTH UNIFORM FINISH AS PER INDUSTRY STANDARDS. COMPLETE IN ALL RESPECTS. | Sq.M | 1739 | 38 | 66082 | 30
4.2.2 | SUPPLY AND INSTALLATION OF GRC FACADES SUPPLY AND INSTALLATION OF GRC (GLASS REINFORCED CONCRETE) FACADES IN ACCORDANCE WITH THE APPROVED DESIGN AND ARCHITECTURAL DRAWINGS, INCLUDING THE SUPPLY AND INSTALLATION OF 20 MM THICK GRC PANELS, COMPLETE WITH THE REQUIRED METAL FRAMING/SUBFRAME, BRACKETS, FIXINGS, ACCESSORIES, AND ALL NECESSARY OPENINGS, CUT-OUTS, AND RECESSES IN THE PANELS AS PER THE APPROVED DESIGN. THE SCOPE SHALL INCLUDE ALL MATERIALS, ACCESSORIES, FABRICATION, INSTALLATION, AND RELATED WORKS REQUIRED TO COMPLETE THE WORKS IN ACCORDANCE WITH THE APPROVED DRAWINGS, SPECIFICATIONS, AND RECOGNIZED TECHNICAL STANDARDS AND PRACTICES. | Sq.M | 375 | 938 | 351750 | 650
4.2.3 | PAINTING FOR OUTDOOR WALLS (RAL 9001) SUPPLY AND APPLY EXTERIOR WALL PAINT PROFILE PAINT FOR OUTDOOR SURFACES. THE PAINT SHALL BE MATT FINISH FROM ONE OF THE FOLLOWING APPROVED BRANDS: JOTUN, AL-JAZEERA, OR EQUIVALENT. SURFACE PREPARATION AND PAINTING SYSTEM: PRIMER / BASE COAT: 1 COAT. PUTTY / FILLER: 2 COATS. FINISH PAINT: 2 COATS OF MATT EXTERIOR PAINT. THE PAINT AND APPLICATION MUST COMPLY WITH THE SPECIFICATIONS OF THE EASTERN COAST ARCHITECTURE ACCORDING TO THE SAUDI BUILDING CODE. SURFACES MUST BE PROPERLY PREPARED, CLEANED, AND PRIMED AS REQUIRED BEFORE PAINTING. THE FINISH MUST BE UNIFORM, DURABLE, AND SUITABLE FOR EXTERIOR EXPOSURE UNDER LOCAL CLIMATE CONDITIONS. | Sq.M | 2408 | 44 | 105952 | 35
4.2.4 | PAINTING FOR OUTDOOR WALLS (RAL1011) SUPPLY AND APPLY EXTERIOR WALL PAINT PROFILE PAINT FOR OUTDOOR SURFACES. THE PAINT SHALL BE MATT FINISH FROM ONE OF THE FOLLOWING APPROVED BRANDS: JOTUN, AL-JAZEERA, OR EQUIVALENT. SURFACE PREPARATION AND PAINTING SYSTEM: PRIMER / BASE COAT: 1 COAT. PUTTY / FILLER: 2 COATS. FINISH PAINT: 2 COATS OF MATT EXTERIOR PAINT. THE PAINT AND APPLICATION MUST COMPLY WITH THE SPECIFICATIONS OF THE EASTERN COAST ARCHITECTURE ACCORDING TO THE SAUDI BUILDING CODE. SURFACES MUST BE PROPERLY PREPARED, CLEANED, AND PRIMED AS REQUIRED BEFORE PAINTING. THE FINISH MUST BE UNIFORM, DURABLE, AND SUITABLE FOR EXTERIOR EXPOSURE UNDER LOCAL CLIMATE CONDITIONS. | Sq.M | 213 | 38 | 8094 | 30
4.2.5 | PAINTING FOR OUTDOOR WALLS (RAL 0607005) BEHIND SIGNAGES SUPPLY AND APPLY EXTERIOR WALL PAINT PROFILE PAINT FOR OUTDOOR SURFACES. THE PAINT SHALL BE MATT FINISH FROM ONE OF THE FOLLOWING APPROVED BRANDS: JOTUN, AL-JAZEERA, OR EQUIVALENT. SURFACE PREPARATION AND PAINTING SYSTEM: PRIMER / BASE COAT: 1 COAT. PUTTY / FILLER: 2 COATS. FINISH PAINT: 2 COATS OF MATT EXTERIOR PAINT. THE PAINT AND APPLICATION MUST COMPLY WITH THE SPECIFICATIONS OF THE EASTERN COAST ARCHITECTURE ACCORDING TO THE SAUDI BUILDING CODE. SURFACES MUST BE PROPERLY PREPARED, CLEANED, AND PRIMED AS REQUIRED BEFORE PAINTING. THE FINISH MUST BE UNIFORM, DURABLE, AND SUITABLE FOR EXTERIOR EXPOSURE UNDER LOCAL CLIMATE CONDITIONS. | Sq.M | 57 | 38 | 2166 | 30
4.3 | EXTERNAL CLADDING
4.3.1 | EXTERNAL STONE CLADDING SUPPLY AND INSTALLATION OF BEIGE TRAVERTINE STONE 400*800*20 MM CLADDING TO EXTERNAL FACADES, INCLUDING SURFACE PREPARATION, APPLICATION OF BLACK BITUMINOUS COATING (ASPHALT) TO MASONRY BLOCK WALLS PRIOR TO INSTALLATION, MECHANICAL FIXING SYSTEM USING HOT-DIP GALVANIZED STEEL ANGLES, GALVANIZED STEEL FASTENERS, BOLTS, AND STEEL ANCHORS AS REQUIRED, COMPLETE WITH ALL NECESSARY ACCESSORIES, CUTTING, DRILLING, JOINTS, ALIGNMENT, LEVELING, AND FINISHING, ALL IN ACCORDANCE WITH THE APPROVED SHOP DRAWINGS, MANUFACTURER'S RECOMMENDATIONS, AND THE OWNER'S APPROVED SAMPLE. | Sq.M | 420 | 371 | 155820 | 296.5 | 147 | 85
4.3.2 | RAZEEN SIGNAGE: SUPPLY, FABRICATION, AND INSTALLATION OF “RAZEEN SEEF MALL” EXTERNAL 3D SIGNAGE, INCLUDING INDIVIDUAL DIMENSIONAL LETTERS AND LOGO WITH BACKLIT LED ILLUMINATION, SUPPORTING STRUCTURE, FIXING ACCESSORIES, POWER SUPPLY, WIRING, AND ALL RELATED WORKS. SIGNAGE SHALL BE FABRICATED FROM HIGH-QUALITY, WEATHER-, UV-, AND CORROSION-RESISTANT MATERIALS, WITH ENERGY-EFFICIENT LED BACKLIGHTING PROVIDING UNIFORM WARM ILLUMINATION. THE CONTRACTOR SHALL SUBMIT SHOP DRAWINGS, MATERIAL SAMPLES, COLORS, FINISHES, STRUCTURAL DETAILS, AND ILLUMINATION DETAILS FOR APPROVAL PRIOR TO FABRICATION. COMPLETE WITH ALL BRACKETS, ANCHORS, CABLES, CONDUITS, LED DRIVERS, WEATHERPROOFING, AND ACCESSORIES. | LS | 1 | 18750 | 18750 | 15000
TOTAL COST FOR DIVISION 4A: ARCHWORKS (To Summary) |  |  |  |  | 1050075
Note on A28: DWG REVIEW: item number was missing.

## Div.5.A
Project: | Commercial building
Location: | Al-DAMMAM , KSA
Owner:
Subject: | Division 5A - THERMALWORKS
DIV. # | Description | Unit | Qty. | Unit Price | Total | 1.25
5 | THERMAL AND MOISTURE PROTECTION
The Contractor is referred to the specifications and drawings for all details related to the works of this division and he is to include but not limited to for complying with all the requirements contained therein, whether or ont they are specifically mentioned within the item. Scope of work will be: shop drawings issuem systems supply, installation and testing. All Tender documents( Drawings, Bill of quantities, Specifications) are integrated documents and complete each other.
Waterproofing liquid membranes for all concrete foundations, Mechanical/Chemical Bonded (Fosroc/Grace) Water proofing system, as per Drawings and Specification
5.1 | For Raft, Lift Pit & Retainging Wall | LS | 1
External faces of Raft, Lift Pit & Retaining walls
|  |  |  | 44500 | 44500 | 35600
For Raft & Lift Pit
Polythene sheet, 400 gauge, under blinding
Horizontally laid under blinding
5.2 | Supply and apply bituminous waterproofing materials for roofs and foundations of electrical rooms and pump-site rooms. Materials must be submitted for approval before execution. Work includes: -Apply 1 coat of primer. -Apply 2 coats of bituminous layer. -Install 2 layers of 4mm membrane with 10 cm overlaps. -Include skirting 30 cm all around. | LS | 1 | 20244 | 20244 | 16195
[7 empty] | block | membrane | protection board | membrane | screed
5.3 | Waterproofing of Water Tanks (internal and external) Scope of Work: Waterproofing of water tanks to prevent leakage and protect the concrete. Includes the following steps: External Waterproofing: Build a solid masonry wall (20×20×40 cm blocks) around the tank (from the outside). Apply 2 coats of bitumen (primer not needed since 2 coats are specified). Install 2 layers of 4mm bituminous membrane with 10 cm overlaps (Membrane). Apply a protective layer over the membrane to safeguard it during backfilling and other construction works. Internal Waterproofing (after concrete works): Prepare and clean the concrete surface thoroughly from dust and debris. Apply tank-grade epoxy internal waterproofing with 1 mm thickness. Ensure full coverage of all surfaces and corners. Notes: All materials must be submitted for approval before execution. Includes all ancillary works such as surface preparation, membrane protection, and quality assurance of application. | LS | 1 | 66713 | 66713 | 53370 | 15655 | 8060 | 3100 | 4160 | 1920 | 20475
5.4 | INSULATION FOR SANDWICH PANELROOF FLOORS 10CM (FOAM) | M2 | 2230 | 88 | 196240 | 70
contractor responsible for making all neccessery water tests to prevent any possible leakage
TOTAL COST FOR DIVISION 5A: THERMALWORKS (To Summary) |  |  |  |  | 327697

## Div.6.A
Project: |  | Commercial building
Location: |  | Al-DAMMAM , KSA
Owner:
Subject: |  | Division 6A - GLASSWORKS
DIV. # |  | Description | Unit | Qty. | Unit Price | Total | 1.25
6 |  | DOORS & WINDOWS
ALL DOORS AND ALUMINIUM (RALL1001) ARE FRAMLESS WITH U CHANEL FRAMES CONTRACTOR SUBMIT SAMBLES AND SHOPDRAWING OF GLASS AND ACCESSORIES
DOORS & WINDOWS
6.1 | BUILDING A | (D/W01) 21500*3000 ALUMINIUM GLASS SWING DOUBLE DOOR WITH FIXED GLASS @ SHOPS ENTRANCE (6mm GLASS-12mm GAP-6mm GLASS) AS PER DRAWING | NO. | 1 | 68532 | 68532 | 41925
6.2 | BUILDING A | (D/W02) 18800*3000 ALUMINIUM GLASS SWING DOUBLE DOOR WITH FIXED GLASS @ SHOPS ENTRANCE (6mm GLASS-12mm GAP-6mm GLASS) AS PER DRAWING | NO. | 1 | 59925 | 59925 | 36660
6.3 | BUILDING A | (D/W03) 10800*6500 ALUMINIUM GLASS SWING DOUBLE DOOR WITH FIXED GLASS @ SHOPS ENTRANCE (6mm GLASS-12mm GAP-6mm GLASS) AS PER DRAWING | NO. | 1 | 74588 | 74588 | 45630
6.4 | BUILDING A | (D/W04) 3000*6500 ALUMINIUM GLASS SWING DOUBLE DOOR WITH FIXED GLASS @ SHOPS ENTRANCE (6mm GLASS-12mm GAP-6mm GLASS) AS PER DRAWING | NO. | 9 | 19500 | 175500 | 12675
6.5 | BUILDING A | (W01) 22000*3000 ALUMINIUM GLASS FIXED GLASS @ SHOPS (6mm GLASS-12mm GAP-6mm GLASS) AS PER DRAWING | NO. | 1 | 70125 | 70125 | 42900
6.6 | BUILDING A | (W02) 15000*3000 ALUMINIUM GLASS FIXED GLASS @ SHOPS (6mm GLASS-12mm GAP-6mm GLASS) AS PER DRAWING | NO. | 1 | 36563 | 36563 | 29250
6.7 | BUILDING A | (W03) 2000*2500 ALUMINIUM GLASS FIXED GLASS @ SHOPS (6mm GLASS-12mm GAP-6mm GLASS) AS PER DRAWING | NO. | 11 | 3750 | 41250 | 3000
6.8 | BUILDING A | (D1) 2000*2500 DOUBLE LEAF SEMI SOLID WOOD WOODEN SWING DOOR @ SUPER MARKET AS PER DRAWING | NO. | 2 | 6063 | 12126 | 4850
6.9 | BUILDING A | (D2) 1100*2400 SINGLE LEAF SEMI SOLID WOOD WOODEN SWING DOOR @ SUPER MARKET AS PER DRAWING | NO. | 14 | 3000 | 42000 | 2400
6.10 | BUILDING A | (D3) 1100*2400 SINGLE LEAF STEEL SWING DOOR @ OFFICE, DATA & CONTROL, METER ROOM & PUMP ROOM. | NO. | 4 | 3000 | 12000 | 2400
6.11 | BUILDING A | (D4) 4500*2100 FOLDING SECO ROOM DOOR AS PER SECO STANDARD | NO. | 1 | 5250 | 5250 | 4200
TOTAL COST FOR DIVISION 6A: GLASSWORKS (To Summary) | [5 empty] | 597859

## Div.7.A
Project: |  | Commercial building
Location: |  | Al-DAMMAM , KSA
Owner:
Subject: |  | Division A7 - Plumbing
1.25
DIV. # |  | Description | Unit | Qty. | Unit Price | Total | 1.25
7A
Supply, install and test of complete plumbing accessories, pipes & fittings, excavation, backfilling, isolation, valves and other related works to have satisfactory operation of the whole system.
Note:All plumbing materials and equipments tobe submitted for approval prior to installation.
| A | SANITARY FIXTURES (AMERICAN STANDARD OR APPROVED EQUAL) & FITTINGS, COMPLETEWITH MIXER, FLUSH SYSTEM, ISOLATION VALVES AND ALL REQUIRED ACCESSORIES.
Mirror Shelf
Soap Holder
Towel Rail
Toilet Paper Holder
Robe Hook
Hand Dryer
| A.1 | Western water closet (WWC), complete with accessories, flush tank type ,american style. | NO | 0
| A.2 | Lavatory vanity, Counter top, complete with accessories. | NO | 0
| A.3 | Lavatory vanity, pedestal (LAV), complete with accessories. | NO | 0
| A.4 | Shower Tray with Mixer Faucet and Shower Head | NO | 0
| A.5 | Mixer for (LAV) | NO | 0
| B | POTABLE AND HOT WATER EQUIPMENT AND ACCESSORIES.
| B.1 | Supply, install, connect and test central electric water heater (EWH) with 50 liters capacity | NO | 0
| B.2 | Water Hammer Arrester (1/2" Dia.) - Wattsor approved equal | NO | 0
| B.3 | Perennial Spray with Vacuum Breaker (1/2" Dia.) - Grohe or approved equal. | NO | 0
| C | DOMESTIC WATER PIPING
Supply and installation of pipe and fittings; CPVC Sch. 80; ASTM D1785; DOMESTIC WATER PIPING including elbows GATE valves, waterhammer arrestor and connections…Amarflex Rubber insulation ON HOT WATER LINES etc . (SAPPCO) or approved equal
| C.1 | 76mm Ø CPVC pipe schedule 80 | LM | 6 | 85 | 510 | 67.75 | 22.5 | 20.25 | 25
| C.2 | 63mm Ø CPVC pipe schedule 80 | LM | 20 | 65 | 1300 | 51.35 | 16.5 | 14.85 | 20
| C.3 | 50mm Ø CPVC pipe schedule 80 | LM | 156 | 47 | 7332 | 37.1833 | 10.0833 | 12.1 | 15
| C.4 | 25mm Ø CPVC pipe schedule 80 | LM | 277 | 25 | 6925 | 19.9083 | 2.5833 | 2.325 | 15
| C.5 | Domestic water fiber glass tank 3 m3 insulated fiberglass water tank with float switch interconnected to a booster pump at ROOF complete with valves, check valves, strainer as shown on the drawing. | NO | 6 | 5625 | 33750 | 4500
| D. | WATER PUMPS
| D.1 | Supply, install, connect, test and commission Transfer pump (TP-01) (TP-02) complete including pumps, valves, control panel, spare parts, accessories and all ancillary work as specified and as shown on drawings. set 1duty & 1stand by ( per pump set ) , VFD controlled at PUMP ROOM. (GRUNDFOS) or approved equal | NO | 1 | 54500 | 54500 | 43600
| D.2 | Supply, install, connect, test and commission BOOSTER pump (PR-01),(PR-02),(PR-03),(PR-04),(PR-05),(PR-06) complete including pumps, valves, control panel, spare parts, accessories and all ancillary work as specified and as shown on drawings. set 1duty at upper roof. (GRUNDFOS) or approved equal | NO | 2 | 6250 | 12500 | 5000
| E | SANITARY WASTE PIPING
The contractor shall supply and install all the following items including all necessary accessories required for proper operations and all materials required for erection and installation. The price of all TIE-inconnections, elbows, reducers, Y-branches and all necessary fittings, excavation, backfilling, bedding shall be considered within the unit prices of pipes. (SAPPCO) or approved equal
| E.1 | 160mm Ø PVC pipe, class 4 | LM | 156 | 192 | 29952 | 153.4167 | 60.8333 | 42.5833 | 30 | 20
| E.2 | 110mm Ø PVC pipe, class 4 | LM | 100 | 125 | 12500 | 99.5833 | 29.1667 | 20.4167 | 30 | 20
| E.3 | 75mm Ø PVC pipe, class 4 FOR HVAC SELVEE PIPES FROM SHOPS TO ROOF TOP | LM | 66 | 67 | 4422 | 53.5167 | 13.8333 | 9.6833 | 20 | 10
| E.4 | GROUND Clean Out :
|  | 160mm Ø PVC | NO | 5 | 563 | 2815 | 450
|  | 110mm Ø PVC | NO | 1 | 438 | 438 | 350
Supply and installation with complete hardware's, fittings, accessories and finishes. (shop drawing must be submitted for approval) Including:
| E.5 | Downspout Nozzle: Rough Bronze, w/Wall Flange 110mm Ø. (Zurn) or approved equal | NO | 2 | 275 | 550 | 220
| E.6 | Downspout Nozzle: Rough Bronze, w/Wall Flange 160mm Ø. (Zurn) or approved equal | NO | 10 | 400 | 4000 | 320
| F | TANKS AND Manhole
| F.1 | Sewer manhole with standard traffic type cast iron manhole cover and frame including foundation bed and associated earthworks | NO | 5 | 4375 | 21875 | 3500
Manholes with depth 0.80 m depth & (0.60*0.60) m² internal daim.
| F.2 | Supply & Installation of COVER WATER TANKS as specified & details drawings complete with the cast-iron cover heavy duty | NO | 1 | 2250 | 2250 | 1800
| G | STORM DRAINAGE PIPING
The contractor shall supply and install all the following items including all necessary accessories required for proper operations and all materials required for erection and installation. The price of all TIE-inconnections, elbows, reducers, Y-branches and all necessary fittings shall be considered within the unit prices of pipes. (SAPPCO) or approved equal
| G.1 | 160 mm Ø PVC Pipe and Fittings (PVC, Sch. 40, ASTM 2665) | LM | 18 | 167 | 3006 | 133.4167 | 60.8333 | 42.5833 | 30 | 0
| G.2 | 110 mm Ø PVC Pipe and Fittings (PVC, Sch. 40, ASTM 2665) | LM | 100 | 100 | 10000 | 79.5833 | 29.1667 | 20.4167 | 30 | 0
| G.3 | Roof Drain 110mm Ø. (Zurn) or approved equal | NO. | 17 | 813 | 13821 | 650
| G.4 | Clean Out :
|  | 160mm Ø PVC | NO | 2 | 563 | 1126 | 450
|  | 110mm Ø PVC | NO | 4 | 438 | 1752 | 350
| H.1 | Supply, installation and testing of the following valves,required fittings with all necessary accessories as perapproved drawings and specifications.
Gate Valve (Manufacturer: NIBCO or approved equal).
|  | 50MM Ø | NO. | 10 | 438 | 4380 | 350
|  | 25MM Ø | NO. | 43 | 188 | 8084 | 150
| H.2 | WATER METERS FOR SHOPS DOMESTIC WATER | NO. | 14 | 188 | 2632 | 150
| I | IRRIGATION SYSTEM
|  | supply and installation of irrigation system including ancillaries in accordance to architect's specifications and as required to make system operational. Mainlines ,Laterals ,and flow sensors, Backflow preventer ,Valves ,Sprinkler Heads ,Controllers , Waterproof splice kit and Pumps; complete with driving motor and all necessary accessories and connections, electrical and control wirings, conduits and controlsIncluding trees, palm trees, agricultural properties, grass, ........etc | LUM | 1 | 50625 | 50625 | 40500 | 22500 | 15000 | 3000
TOTAL COST FOR DIVISION 7A: PLUMBING (To Summary) | [5 empty] | 291045
Note on E106: DWG REVIEW: was 1. Rain drainage site plan PL-02 shows 17 nos roof drains (RD).

## Div.8.A
Project: |  | Commercial building
Location: |  | Al-DAMMAM , KSA
Owner:
Subject: |  | Division A8 - Electrical
1.25
DIV. # |  | Description | Unit | Qty. | Unit Price | Total
8
DIVISION 16 - ELECTRICAL
All the electrical works include related works which
required to complete the work but not mentioned
in here or not shown in drawings, such as
demolition, excavation, backfilling, concreting,
drilling, labels of cables and panel boards, pipes,
|  | boxes, fasting devices, test and commissioning. | Note
All electrical works shall be constructed according
|  | to the SASO and latest SEC code. | Note
SITE WORK :-
| A | MAIN AND SUB MAIN POWER
| 1 | Main and Sub-Main Circuit:
600/1000V XLPE multicore or single core copper
cable in conduits including UPVC conduits,
conductors, junction boxes, connection for
feeders at various power loads
as shown on drawings.
| 1.1 | 2X(4C-300 mm2+1X70 mm2G) | LM | 140 | 1772 | 248080 | 1417.5 | 640 | 50 | 0 | 37.5
| 1.2 | 4C-95mm2+1X50mm2G | LM | 75 | 321 | 24075 | 256.5 | 200 | 30 | 0 | 26.5
| 1.3 | 4C-185mm2+1X50mm2G | LM | 18 | 597 | 10746 | 477 | 395 | 30 | 0 | 52
| 1.4 | 4C-50mm2+1X35mm2G | LM | 762 | 199 | 151638 | 158.5 | 105 | 20 | 0 | 18.5
| 1.5 | 4C-35mm2+1X16mm2G | LM | 21 | 133 | 2793 | 106 | 76 | 10 | 10 | 10
| 1.6 | 4C-25mm2+1X16mm2G | LM | 85 | 108 | 9180 | 86 | 56 | 10 | 10 | 10
| 1.7 | 4C-10mm2+1X10mm2G | LM | 74 | 64 | 4736 | 50.75 | 24.5 | 10 | 10 | 6.25
| 2 | Supply and install main distribution panelboards including circuit breakers, fixings and all assocciated works as required and as shown on drawings.
| 2.1 | MDB-1 | NO | 1 | 12832 | 12832 | 10265
| 2.2 | MDB-2 | NO | 1 | 19887 | 19887 | 15909
| 2.3 | MDB-3 | NO | 0 | 12693 | 0 | 10154
| 2.4 | PK | NO | 1 | 4375 | 4375 | 3500
| 2.5 | LP-EX & LP-EX -2 | NO | 1 | 4375 | 4375 | 3500
| 2.6 | PC-1 | NO | 0 | 4375 | 0 | 3500
| 2.7 | PC-2 | NO | 0 | 4375 | 0 | 3500
| 2.8 | PS-01 | NO | 1 | 5625 | 5625 | 4500
| 2.9 | PS-02 | NO | 1 | 5625 | 5625 | 4500
| 2.10 | PS-03 | NO | 1 | 5625 | 5625 | 4500
| 2.11 | PS-04 | NO | 1 | 5625 | 5625 | 4500
| 2.12 | PS-05 | NO | 1 | 5625 | 5625 | 4500
| 2.13 | PS-06 | NO | 1 | 5625 | 5625 | 4500
| 2.14 | PS-07 | NO | 1 | 5625 | 5625 | 4500
| 2.15 | PS-08 | NO | 1 | 5625 | 5625 | 4500
| 2.16 | PS-09 | NO | 1 | 5625 | 5625 | 4500
| 2.17 | PS-10 | NO | 1 | 5625 | 5625 | 4500
| 2.18 | PS-11 | NO | 1 | 5625 | 5625 | 4500
| 2.19 | PS-12 | NO | 1 | 5625 | 5625 | 4500
| 2.20 | PS-13 | NO | 1 | 5625 | 5625 | 4500
| 2.21 | PS-14 | NO | 1 | 5625 | 5625 | 4500
| 2.22 | PS-15 | NO | 0 | 5625 | 0 | 4500
| 2.23 | PS-16 | NO | 0 | 5625 | 0 | 4500
| 2.24 | PS-17 | NO | 0 | 5625 | 0 | 4500
| 2.25 | PS-18 | NO | 0 | 5625 | 0 | 4500
| 2.26 | PS-19 | NO | 0 | 5625 | 0 | 4500
| 2.27 | PS-20 | NO | 0 | 5625 | 0 | 4500
| 2.28 | PS-21 | NO | 0 | 5625 | 0 | 4500
| 2.29 | PS-22 | NO | 0 | 5625 | 0 | 4500
| 2.30 | PS-23 | NO | 0 | 5625 | 0 | 4500
| 2.31 | PS-24 | NO | 0 | 5625 | 0 | 4500
| 2.32 | PS-25 | NO | 0 | 5625 | 0 | 4500
| 2.33 | PS-26 | NO | 0 | 5625 | 0 | 4500
| 2.34 | PS-27 | NO | 0 | 5625 | 0 | 4500
| 2.35 | PS-28 | NO | 0 | 5625 | 0 | 4500
| 2.36 | PS-29 | NO | 0 | 5625 | 0 | 4500
| 2.37 | PS-30 | NO | 0 | 5625 | 0 | 4500
| 2.38 | PS-31 | NO | 0 | 5625 | 0 | 4500
| 2.39 | PS-32 | NO | 0 | 5625 | 0 | 4500
| 2.40 | PS-33 | NO | 0 | 5625 | 0 | 4500
| 2.41 | PS-34 | NO | 0 | 5625 | 0 | 4500
| 2.42 | PS-35 | NO | 0 | 5625 | 0 | 4500
| 2.43 | PS-36 | NO | 0 | 5625 | 0 | 4500
| 2.44 | PS-37 | NO | 0 | 5625 | 0 | 4500
| 2.45 | PS-38 | NO | 0 | 5625 | 0 | 4500
| 3 | Supply and install reinforced concrete Hand
Holes connected via duct banks, complete with
hand hole bolted type metal cover, drain
pipe outlet, including trenching and backfilling
for duct banks, conduits for power and
communication cables in duct banks, tapes, all as
required to suit locations as shown on drawings
and as described in specifications
| 3.1 | ELEC. Manhole (1.20 X1.20) M | No | 2 | 4375 | 8750 | 3500
| 3.2 | ELEC. Manhole (0.8 X0.8) M | No | 2 | 4375 | 8750 | 3500
| 3.3 | ELEC. Manhole (0.6 X0.6) M | No | 2 | 3125 | 6250 | 2500
| 3.4 | ELEC. Manhole (0.3 X0.3) M | No | 0 | 2500 | 0 | 2000
| 3.5 | IT. Manhole (0.6 X0.6) M | No | 5 | 3125 | 15625 | 2500
| B | POWER disconnecting switches
| 1 | Supply, installation, testing and commissioning of disconnecting switches including circuit breakers, enclosures, fixings, supports and associated lighting contactors for complete installation as shown on drawings and as per specification
| 1.1 | Disconnect switch, non-fused, weatherproof and with pilot light, 63A, 3P,400V for WATER Pumps. | No | 1 | 1075 | 1075 | 860
| 1.2 | Disconnect switch, non-fused, weatherproof and with pilot light, 32A, 3P,400V for IRRIGATION PUMP . | No | 1 | 788 | 788 | 630
| 1.3 | Disconnect switch, non-fused and with pilot light , 200A, 3P, 400V in N-1 Enclosure, weatherproof for Fire pump | No | 1 | 3125 | 3125 | 2500
| 1.4 | Disconnect switch, non-fused and with pilot light , 32A, 1P, 220V in N-1 Enclosure, weatherproof for BOOSTER PUMP | No | 2 | 813 | 1626 | 650
| 2 | Supply and install SLEEVE PIPES
connections and associated trenching and
backfilling as required to suit the locations shown
on drawings and as described in spsecifictaions
| 2.1 | 6" Ø sleeve pipes | LM | 715 | 113 | 80795 | 90
| 2.2 | 4" Ø sleeve pipes | LM | 385 | 75 | 28875 | 60
| 2.3 | 3" Ø sleeve pipes | LM | 95 | 63 | 5985 | 50
| C | GROUNDING SYSTEM.
| 1 | Supply and install a complete grounding system
comprising soild copper bare conductor
imbedded in foundation and surrounding the
buildings. Including earthing of all electrical and
mechanical equipments in pump room, HAVC at
the roof, in addition to all earthwork, connections
to the building's facades, disconnect link for
testing, clips, exthermic bonding and all
assocciated works as necessary to complete
the work as per code recommendation, as per
drawings and as described in specifications.
|  | To suit the building's grounding resistivity | Note
| 1.1 | Copper clad steel rod 20 mm dia & 3000mm length | NO | 7 | 313 | 2191 | 250
| 1.2 | EARTHING PIT ∅20 mm x 3000 mm & INSPECTION PIT | NO | 1 | 563 | 563 | 450
| 1.3 | 70 mm BARE COPPER CONDUCTOR | LM | 218 | 103 | 22454 | 82 | 42 | 10 | 30
| 1.4 | COPPER BUSBAR | NO | 1 | 2250 | 2250 | 1800
| E | POWER AND LIGHTING
| 1 | Light Switches and Electrical Sockets Supply and install power and lighting accessories
including all necessary boxes, switches, sockets
and as required seal enclosures. In addition to
final sub-circuits comprising cables, conduits,
fittings, connections and associated works as
required to suit the locations shown on drawings.
The contractor is responsible for the finalization of all
switching devices for all lighting outlets (Junction
Boxes) according to Interior Design (ID) lighting fixture
selection, layout and connections. In addition all plate
covers for switches and sockets are to be supplied
|  | after client and consulatant engineer approval. | Note
| 1.1 | 13A,220V, 1 phase, 3 wires, duplex socket with switch on and off | No | 12 | 313 | 3756 | 250
| 1.2 | 13A,220V, 1 phase, 3 wires, single socket with switch on and off for EMERGENCY LIGHT | No | 39 | 275 | 10725 | 220
| 1.3 | 2 gang 1 way Lighting switch ,220V, 1 phase | No | 4 | 250 | 1000 | 200
| 2 | Install lighting fixtures complete with
luminaries and mounting accessories. In addition
to supply and install the final sub-circuits comprising cables,
conduits, fittings, connections and associated works as
required to suit the locations shown on drawings.
client and consulatant engineer approval is required.
|  | The contractor shall be responsible for the supply and installation of all lighting works, including conduits, wiring, First Fix, Second Fix, and Third Fix. The Owner will supply only the light fixtures themselves for Third Fix only; the contractor is responsible for installing these fixtures, but the supply of the fixtures is not the contractor’s responsibility. | Note
| 2.1 | WEATHER PROOF, CLEAR POLYCARBONATE INJECTED UV STABLE DIFFUSER, HEAT HARDENED, ALUMINUM REFLECTOR PLACED UNDER THE LAMPS, DIFFUSER TIGHTENED WITH EXPANDABLE SEAL AND CLOSING CLIPS, 1274 X 195MM IN SIZE, IP-65. | No | 11 | 482 | 5302 | 385 | 255 | 80 | 50
| 2.2 | POLE TOP LUMINAIRE, 2x150 watt LED LAMP,230 VOLT, ALUMINUM AND STAINLESS STEEL, SAFETY GLASS, REFLECTOR OF ANODIZED PURE ALUMINUM, ADJUSTABLE SLOPE ANGLE 0° OR 15°, LUMINAIRE MOUNTING HEIGHT "H1" 6m HIGH, IP65. | No | 9 | 5338 | 48042 | 4270 | 1700 | 1720 | 250 | 350 | 250
[8 empty] | supply | housing | wire | install
| 2.3 | LED STRIP LIGHT IP 65 ,10W/M ,3500K with ALUMINUM LINEAR PROFILE WITH COVER , BLACK or WHITE HOUSING | LM | 407 | 83 | 33781 | 65.7 | 25.2 | 10.5 | 15 | 15
| 2.4 | String Lights Hanging Kit,Globe String Lights Suspension Kit,Outdoor Light Guide Wire-Coated Stainless Steel Wire Rope Cable,Turnbuckle and Hooks,Enough Accessories | LM | 132 | 107 | 14124 | 85
| 2.5 | LIGHT FOR SITE AS PER DESIGN IP 65 ,10W/M ,3500K with ALUMINUM PROFILE WITH COVER , BLACK or WHITE HOUSING | NO | 18 | 83 | 1494 | 65.7 | 25.2 | 10.5 | 15 | 15
| F | LOW CURRENT SYSTEMS
All LOW CURRENT systems include fittings, tapes, pull
boxes, connectors, supports, extensions of cables in
conduits and all associated works as required to form
a complete and fully operative system in the building
|  | as shown on drawings. | Note
| 1 | CCTV SYSTEM
|  | CCTV SYSTEM: - Supply, install, connect, testing a complete CCTV system as shown on drawings with all equipment specified herein including other components accessories required to complete installation & working. All the equipment of the closed circuit television system shall be rack-mounted type, where possible, and shall be products of a single manufacturer, unless applicable or approved otherwise. Each item shall be installed where shown on drawings or as required complete with its wiring (system including main rack01 fiber optical cable, monitors, WORKtation…etc.) recording criteria shall be with 25 to 30 fps, band width 10 Mb/sec, H.264 video compression, 100% motion for 90 days, interface with it system. | [5 empty] | nvr | hdd
| 1.1 | 24 CH Network video Recorder,8 SATA, 8HDD Support | No | 1 | 5750 | 5750 | 4600 | 4600 | 16800
| 1.2 | Western digital 10 TB Hard drive for 90 Days backup | No | 6 | 3125 | 18750 | 2500
| 1.3 | IP DOME FIXED CCTV CAMERA 8 MGPX OR EQUAL . CEILLING MOUNTED ( WATER PROOF IF REQUIRED ) . | No | 1 | 1500 | 1500 | 1200
| 1.4 | Network CCTV bullet external (outdoor) camera, IP fixed,4k 8 megapixel | No | 16 | 3125 | 50000 | 2500
| 1.5 | CAT6 CALBE | LM | 660 | 33 | 21780 | 26
| 1.6 | FREE STAND cabient 12U CCTV Rack | No | 1 | 7000 | 7000 | 5600
TOTAL COST FOR DIVISION 8: ELECTRICAL (To Summary) | [5 empty] | 983573

## Div.9.A
Project: |  | Commercial building
Location: |  | Al-DAMMAM , KSA
Owner:
Subject: |  | Division A9 - FIRE
1.25
DIV. # |  | Description | Unit | Qty. | Unit Price | Total | 1.25
DIVISION 17 - FIRE SYSTEM
Fire Alarm items
| Fa | FIRE ALARM SYSTEM : Alarm systems include the supply, installation, testing and commissioning of the fire alarm system, and the work includes wires, pipes, cable beds, boxes, supports, grounding ,all fittings ,accessories,exacavations,backfilling,and all labour and materials to complete work.The entire system materials and installation must be complied the NFPA and all materials and components comply with Saudi Standard Specifications (SASO) or UL / FM Listed and civil defense requirements. All materials must be approved before supply by the engineer owner .
| Fa1 | Addressable fire alarm control panel ( 1 loop ) with 24 hour back up battery. | Pcs | 1 | 7000 | 7000 | 5600
| Fa2 | Addressable manual call point | Pcs | 1 | 813 | 813 | 650
| Fa3 | Addressable siren ( indoor ) | Pcs | 1 | 813 | 813 | 650
| Fa4 | Addressable Smoke Detector | Pcs | 2 | 482 | 964 | 385
| Fa5 | Addressable Heat Detector | Pcs | 1 | 482 | 482 | 385
| Fa6 | Addressable weatherproof alarm siren with flashing light | Pcs | 4 | 813 | 3252 | 650
| Fa7 | Monitor module | Pcs | 21 | 1000 | 21000 | 800
| Fa8 | Conventional fire alarm control panel ( 2 Zoons ) with 24 hour back up battery. | Pcs | 1 | 2250 | 2250 | 1800
| Fa9 | Conventional fire alarm control panel ( 1 Zoon ) with 24 hour back up battery. | Pcs | 14 | 2063 | 28882 | 1650
| Fa10 | Conventional manual call point | Pcs | 18 | 563 | 10134 | 450
| Fa11 | Conventional Bell | Pcs | 18 | 563 | 10134 | 450
| Fa12 | Conventional Smoke Detector | Pcs | 58 | 282 | 16356 | 225
| Fa13 | EMERGENCY LIGHTS, 2 X 20 WATTS, WITH BACKUP BATTERY 3.0 HRS APPROVED BY SASO. 230V/60HZ/ 1PH | Pcs | 27 | 482 | 13014 | 385
| Fa14 | EXIT LIGHT W/ SELF CONTAINED EMERGENCY SUPPLY 1 X 10 WATTS. 3.0 HRS APPROVED BY SASO. 230V/60HZ/ 1PH | Pcs | 7 | 482 | 3374 | 385
| Fa15 | FIRE RATED METAL DOOR SELF CLOSE 1.5 HOUR | NO | 1 | 3688 | 3688 | 2950
| Fa16 | FIRE RATED METAL DOOR SELF CLOSE 1.0 HOUR | NO | 1 | 3438 | 3438 | 2750
FIRE PROTECTION SYSTEM
| FB | Supply, installation and testing of pipework, seamless
black steel pipe, schedule 40 ASTM A 53 or A795; fittings
shall be malleable iron screwed for 50mm OD and below;
steel flanges & flanged fittings shall be ANSI B16.5 dim.,
class 150-ASTM A105; for aboveground pipe shall be
RTR as per ASTM D2310, bell x spigot and for adhesive
bonded joints: including supports as shown on drawing
standard and specifications:
| FB1 | 1" Ø pipe schedule 40 | LM | 360 | 48 | 17280 | 37.8 | 14 | 9.8 |  | 14 | Yes
| FB2 | 1.25" Ø pipe schedule 40 | LM | 80 | 61 | 4880 | 48.1 | 18 | 12.6 |  | 17.5 | Yes
| FB3 | 1.5" Ø pipe schedule 40 | LM | 230 | 73 | 16790 | 58.4 | 22 | 15.4 |  | 21 | Yes
| FB4 | 2" Ø pipe schedule 40 | LM | 66 | 108 | 7128 | 85.8 | 34 | 23.8 |  | 28 | Yes
| FB5 | 2.5" Ø pipe schedule 40 | LM | 32 | 144 | 4608 | 114.9 | 47 | 32.9 |  | 35 | Yes
| FB6 | 3.0" Ø pipe schedule 40 | LM | 50 | 186 | 9300 | 148.3333 | 66.6667 | 46.6667 |  | 35 | Yes
| FB7 | 4.0" Ø pipe schedule 40 | LM | 84 | 253 | 21252 | 202.2 | 86 | 60.2 |  | 56 | Yes
CONTRACTOR IS RESPONSBLE FOR (excavation, levelling, installation, concrete thrust blocks, tests, backfilling and warning tape
| FB8 | HDPE PIPE UNDER GROUND 2 INCH | LM | 0 | 47 | 0 | 37 | 8.5 | 8.5 | 10 | 10
| FB9 | HDPE PIPE UNDER GROUND 3 INCH | LM | 0 | 68 | 0 | 53.835 | 17.55 | 12.285 | 10 | 14
| FB10 | HDPE PIPE UNDER GROUND 4 INCH | LM | 97 | 92 | 8924 | 73.1 | 23 | 16.1 | 10 | 24
| FB11 | HDPE PIPE UNDER GROUND 6 INCH | LM | 37 | 168 | 6216 | 134.15 | 49.5 | 34.65 | 20 | 30
| FB12 | 1" Ø pipe schedule 40 for SPRINKLER | LM | 62 | 47 | 2914 | 37
FIRE DEPARTMENT CONNECTION
| FC | siamese connection having 2*2 1/2 inlets for city fire department connection having 4 outler to the building fire fighting system connection | NO | 1 | 3125 | 3125 | 2500
FIRE HOSE CABINET
| FD | supply and installation and testing fire hose cabinet steel construction and commission with 30 meter 25mm (1inch)diameter fire rubber hose cabinet assembly complete with 40 mm (1.5 inch landing valve bronze adjustable spray nozzle as per drawings & civil defence approved
|  |  | NO | 7 | 3125 | 21875 | 2500
| FE | Fire Extinguisher
Portable fire extinguisher, ABC dry chemical, 6kg
capacity, steel painted body, with pressure indicator,
| FE1 | reinforced hose and discharge horn, squeeze handle, wall
|  | mounted bracket, installed with tagging and accessories, all | NO | 23 | 144 | 3312 | 115
as specified and shown on drawings (Civil Defense
Approved).
| FE2 | Portable fire extinguisher, carbon dioxide type,6 kg
capacity, steel painted body, pressure tested at 250 bars,
seamless construction, with pull in squeeze handle, double
|  | braided hose and discharge horn, installed with tagging and | NO | 23 | 232 | 5336 | 185
accessories all as specified and shown on drawings (Civil
Defense Approved).
| FE3 | CHEMICAL POWDER WITH MOUNTED CELLING .CAPCITY 10 KG | NO | 2 | 1113 | 2226 | 890
| FF | Sprinkler
Supply, installation and testing ofSprinkler Heads; shall be
standard response type, ordinary at temperature rating of
68deg cent.; pendent heads shall be standard response type,
ordinary temperature rating of 57 deg. Cent. All in
accordance with general notes and standard (Civil Defense
Approved.
|  | Pendent sprinkler (68 ºc) 5.6 K | NO | 207 | 44 | 9108 | 35
| FG | GATE VALVES:
Supply, installation & setting to work Gate valves
completed with accessories (Approval by UL listed or FM
or SASO) as shown on drawing and specifications
| FG1 | Gate Valve Ø2" inch | NO | 14 | 1075 | 15050 | 860
| FH | ALARM CHECK VALVES:
| FH1 | ALARM CHECK VALVE 3 INCH | NO | 0 | 2250 | 0 | 1800
| FH2 | ALARM CHECK VALVE 4 INCH | NO | 2 | 3500 | 7000 | 2800
| FH3 | ALARM CHECK VALVE 6 INCH | NO | 1 | 4750 | 4750 | 3800
| FI | FIRE PUMP
| FI1 | DESIL VERTICAL TURBINE PUMP CAPCITY 500 GALLON PER MINUTE (GPM) | NO | 1 | 106250 | 106250 | 85000
HEAD 70 METER , PRESSURE = 7 BAR
| FI2 | ELECTRICAL VERTICAL TURBINE PUMP CAPCITY 500 GALLON PER MINUTE (GPM) | NO | 1
HEAD 70 METER , PRESSURE = 7 BAR
| FI3 | JOKEY VERTICAL TURBINE PUMP CAPCITY 50 GALLON PER MINUTE (GPM) | NO | 1
HEAD 75 METER , PRESSURE = 7 BAR
TOTAL COST FOR DIVISION 9: FIRE (To Summary) | [5 empty] | 402918

## Div.10.A
Project: | Commercial building
Location: | Al-DAMMAM , KSA
Owner:
Subject: | Division A10 - METALWORKS
DIV. # | Description | Unit | Qty. | Unit Price | Total | 1.25
10 | METALS
10.1 | Install, and Erection of Pre Engineered Structural steel works including rafters, purlins,platform above roof for water tanks & hvac outdoor unit | LS | 1 | 153313 | 153313 | 122650
fixing 100mm thk Sandwich panels to Roof (0.50mm thk GI (G90) Polysterstandard RAL colour Top skin,50mm thk PIT of density35/40 +/-3kg/m³,0.70 thk thk GI (G90) Polysterstandard RAL colour Liner skin
10.2 | METAL STAIR LADDER FOR ROOF SERVICE HIGHT 11 METER | NO | 2 | 20625 | 41250 | 16500
10.3 | METAL CNC DESIGN FOR FAÇADE AS PER DESIGN RAL (9001) | LS | 1 | 18750 | 18750 | 15000
The Supplier Nominated by client to undertake the above works ALMGHRABY Can be contacted via below contact details.(Tenderers are requested to contact ALMGHRABY Via below contact details)
TOTAL COST FOR DIVISION 10: FIRE (To Summary) |  |  |  |  | 213313

## SUMMARY
Project: |  | Commercial building
Location: |  | Al-DAMMAM , KSA
Owner:
COMPOSITE SUMMARY
Item No. | Description | Unit | Qty. | Unit Rate | Amount
[5 empty] | SAR | 1.25
1 | EARTHWORKS | XXX | XXX | XXX | 477843
2 | CIVIL WORKS | XXX | XXX | XXX | 1264374
3 | MASONRY | XXX | XXX | XXX | 340510
4 | ARCHITECTURAL WORKS | XXX | XXX | XXX | 1050075
5 | THERMAL & MOISTURE PROTECTION | XXX | XXX | XXX | 327697
6 | DOORS & WINDOWS | XXX | XXX | XXX | 597859
7 | PLUMBING | XXX | XXX | XXX | 291045
8 | ELECTRICAL | XXX | XXX | XXX | 983573
9 | FIRE PROTECTION SYSTEM | XXX | XXX | XXX | 402918
10 | METAL WORKS | XXX | XXX | XXX | 213313
| TOTAL ESTIMATED CONTRACT PRICE |  |  |  | 5949207